| Contact Company | Contact Person | Address | Telephone and fax | email |
| --- | --- | --- | --- | --- |
| Test Information | Direction of the test (check both if they apply) | ⁯ Compression ⁯ Tension |  |
|  | Cycling | ⁯ Cycling not required ⁯ Cycling , will stop test manually ⁯ Cycling, tester to stop at count |  |
|  | Maximum test load expected Minimum test load expected | ⁯ Max Load = __________________ ⁯ Min Load = ___________________ |  |
|  | Maximum test travel expected | ⁯ Travel = ______________________ |  |
|  | Clearance needed for largest sample (please account for large samples where the load point is not centered on the specimen) | ⁯ Vertical (height) = _____________ ⁯ Left = _______________________ ⁯ Right = ______________________ ⁯ Front = ______________________ ⁯ Back = ______________________ |  |
|  | Maximum speed required Minimum speed required | ⁯ Max Speed = _________________ ⁯ Min Speed = _________________ |  |
|  | Timed holding | ⁯ Hold force ⁯ Hold distance |  |
| Results Information | Results required | ⁯ Pull to break or Compress to Rupture ⁯ Pull or compress to force limit ⁯ Pull or compress with yield ⁯ Creep and or relaxation ⁯ Tearing, peeling, or adhesion ⁯ 3 or 4 point bend ⁯ Snap on, snap off ⁯ Insertion and extraction ⁯ Friction ⁯ Hardness ⁯ Spring rate |  |
| Data | Data generated | ⁯ Tabular only ⁯ Graph of test |  |
|  | Export of data to pc | ⁯ Not exporting ⁯ Data points only ⁯ Results only ⁯ Connection is RS-232 ⁯ Connection is USB ⁯ Want to copy and paste data or graph |  |
| Physical requirements | Voltage | ⁯ Line voltage = ______________ ⁯ Surge protection |  |
|  | Column preference | ⁯ Single (up to 5000 N) ⁯ Double (5000 N and up) |  |
|  | Foot print and height of area tester will reside. | ⁯ Length__________ ⁯ Width___________ ⁯ Head room from placement surface___________ |  |
| Other | Grips and jigs | ⁯ Building yourself ⁯ Need for the following tests: |  |
|  | External devices | ⁯ None ⁯ Extensometer ⁯ LVDT ⁯ Data acquisition (temp, humidity, second load cell, and etc. ⁯ Heating chamber ⁯ Heating /cooling chamber ⁯ Computer (specify Operating System) |  |
|  | Security /Traceability | ⁯ None ⁯ On tester (password) ⁯ On software (password) ⁯ On software and tester (password) ⁯ Program/data changes traceable (FDA) |  |
|  | Safety | ⁯ Splinter shield |  |
|  | Service Contract | ⁯ yes ⁯ no |  |
| Other information you have that may be important to equipment selection: |